BUS DATA

(File = BDAT, una línea por barra)

Variable
Columns
Format
Comments

Number
1 - 4
I4


Name
5 - 16
A12


Type
17
I1
1 = Swing Bus




2 = PV Bus




3 = PQ Bus

Linear P Generation
18 - 25
F8
Percent

Linear Q Generation
26 - 33
F8
Percent

Linear P Load
34 - 41
F8
Percent

Linear Q Load
41 - 49
F8
Percent

Desired Voltage
50 - 57
F8
Percent

Shunt Reactive Q Load
58 - 65
F8
Percent@Voltage=100%

Maximum Q Generation
66 - 73
F8
Percent

Minimum Q Generation
74 - 81
F8
Percent

Nonlinear Device P Generation
156 - 163
F8
Percent.

Nonlinear Device P Load
164 - 171
F8
Percent.

Nonlinear Device Displacement Power Factor
172 - 179
F8
Per Unit (positive for lagging)
Nonlinear Device Type
180 - 183
I4
1
= 2-pulse current source




2
= 2-pulse voltage source




3
= 6-pulse current source




4
= 6-pulse voltage source




5
= 12-pulse current source




6
= 12-pulse voltage source




7
= 18-pulse current source




8
= 18-pulse voltage source




9
= user-specified type 9




10
= user-specified type 10




11
= user-specified type 11




12
= user-specified type 12




13
= user-specified type 13

